Architectural Material Specifications

All stair treads listed in the finished schedule or listed in the specification as Vinyl Stair Treads shall be Roppe Vinyl Stair Treads as furnished by Roppe Corporation, Fostoria, OH. The treads shall be homogeneously constructed of first-quality raw material, and shall be smooth and free of imperfections which detract from its appearance and contain no asbestos fiber. The treads shall conform fully to meet ASTM F 2169; Standard Specification for Resilient Stair Treads: Type TV; Class 2; Group 1 & 2. The vinyl treads shall be type ________ (insert number and name) and shall be 5/32” {3.968mm}, 1/4” {6.35mm} nominal thickness. They shall be _____ (specify round or square nose), and nominal length of ______ (specify length) in the color selected (specify color).